## Slide 1: Sustainable Lighting Design - LED

## Slide 2
We will review the following components of LED lighting design.
Products
Application
Controls
Advantages of LED

## Slide 3
LED Lighting:
  Down lighting
  Linear Recessed
  Under Cabinet
  Site
Accent
Specialty

## Slide 4
Down lighting

## Slide 5
Linear Recessed

## Slide 6
Undercabinet

## Slide 7
Site

## Slide 8
Accent

## Slide 9
Specialty

## Slide 10
Controls
Room Control
Panel Control
Sensor Control

## Slide 11
Advantages
DC input voltage
0 – 10V dimming
Nano optics
Small size
Durable quality
Zero UV submissions
Cold temperature
Eco friendly

## Slide 12
LEED Check List Points
SSc8 Light Pollution Reduction - nano optics, LEED Optics
EAc1 Optimize Energy Performance – up to 19 total points
IEQc6.1Controllability of Systems - several options